## Instruction sets
INSTRUCTION SET
Name* | Description | Steps*
Spring/Summer External Property Maintenance Checklist | As the days get warmer, make sure your properties' exteriors receive necessary maintenance and care on an annual basis. | Inspect the roof for damage and debris. Inspect doors and windows and ensure sealant is intact. Put in or inspect window screens; check for holes and tears. Clear debris from exterior vents and clean if needed. Clear debris from gutters. Inspect outdoor component of HVAC unit. Check for cracks in sidewalks and parking lots. Trim trees that are overgrown, threatening property line, or too close to the building. Ensure all outdoor lighting fixtures are working correctly (adjust auto-on/off time if necessary). Make arrangements to begin weekly external tasks (mowing and lawn care, gardening, etc.).

## Time-based tasks
| TASK | [5 empty] | DAILY | WEEKLY | [7 empty] | MONTHLY |  | YEARLY | TASK | [34 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Buildings* | Location | First due date* | Repeat* | Every X days | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Every X weeks | Mode | Every X months | Every X years | Exclude dates |  | Next due date mode | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Equipment items | Tracked meters | Assigned users | Outsourced | Ask for confirmation X day(s) before due | Send an email reminder
[19 empty] | From | Thru |  | Names | Quantities | [30 empty] | From | To | [5 empty] | X day(s) before due | & X day(s) before due | X day(s) after due

## Meter-based tasks
| TASK | [40 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Building* | Location | Equipment item* | Meter* | Next due threshold |  | Repeat every | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Assigned users | Outsourced | Send an email reminder
[8 empty] | Next due date |  | Names | Quantities | [30 empty] | From | To |  |  | X day(s) after due

## Executions
EXECUTION
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Cost | Comments | Inventory used |  | Meter readings |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field>
[6 empty] | Users | Hours |  |  | Names | Quantities | Meters | Readings

## Responses
RESPONSE
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Response* | Inventory used
[6 empty] | Users | Hours |  | Names | Quantities

## Reopenings
REOPENING
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Reason*